GULF COAST ENERGY PARTNERS

Structural Inspection Report

| Platform: | Platform 12 |
| --- | --- |
| Inspection Date: | January 25, 2025 |
| Inspector: | Sarah Mitchell, Senior Structural Engineer |
| Report ID: | SI-2025-003 |

INSPECTION TYPE: Quarterly Grating & Walkway Integrity Check

SCOPE:

Visual and physical inspection of all steel grating on production deck and cellar deck per API RP 2A-WSD Section 17.3.2.

FINDINGS

Zone A (Production Deck):

• Grating sections G-31 through G-35: Significant corrosion detected, 40% material loss

• Recommendation: Immediate replacement required

Zone B (Cellar Deck):

• All grating sections in acceptable condition

CORRECTIVE ACTIONS REQUIRED

1. Replace grating sections G-31 through G-35 within 14 days

2. Install temporary barriers around affected area immediately

3. Update grating inspection schedule to monthly for Zone A

OVERALL STATUS: FAIL

Signed: Sarah Mitchell, PE

Date: January 25, 2025